## Sheet1
Tyler Anderson | BSD_event_protocol
rev1 | 2013-03-11
Event Packets
Contents | Byte in Packet | Bit in Byte | Associated CS | Description
0x8F | 0 | * | N/A | SYNC
0xC7 | 1 | * | N/A | SYNC
0xCD | 2 | * | N/A | SYNC
0xDC | 3 | * | N/A | SYNC
EVTNO[31:24] | 4 | * | N/A | Instrument event number
EVTNO[23:16] | 5 | * | N/A | Instrument event number
EVTNO[15:8] | 6 | * | N/A | Instrument event number
EVTNO[7:0] | 7 | * | N/A | Instrument event number
EVTCNT[7:0] | 8 | * | N/A | Event counter, number of events collected since system reset
EVENT STATUS | 9 | * | N/A | Flags indicating trigger and event conditions
TRIG_MODE | 9 | 7-5 | N/A | Trigger Mode for this event
CONF_MODE | 9 | 4-3 | N/A | Confirmation Mode for this event
TRIG2 | 9 | 2 | N/A | Flag is set if T2 was involved in T0 formation
TRIG1 | 9 | 1 | N/A | Flag is set if T1 was involved in T0 formation
EXTIN | 9 | 0 | N/A | Flag is set if EXTIN (IMT for flight) was involved in T0 formation
A2D11L[15:8] | 10 | * | A2D11LCS\ | PMT 1 Quartet 1 Low Gain ADC High Byte
A2D11L[7:0] | 11 | * | A2D11LCS\ | PMT 1 Quartet 1 Low Gain ADC Low Byte
A2D11H[15:8] | 12 | * | A2D11HCS\ | PMT 1 Quartet 1 High Gain ADC High Byte
A2D11H[7:0] | 13 | * | A2D11HCS\ | PMT 1 Quartet 1 High Gain ADC Low Byte
A2D21L[15:8] | 14 | * | A2D21LCS\ | PMT 2 Quartet 1 Low Gain ADC High Byte
A2D21L[7:0] | 15 | * | A2D21LCS\ | PMT 2 Quartet 1 Low Gain ADC Low Byte
A2D21H[15:8] | 16 | * | A2D21HCS\ | PMT 2 Quartet 1 High Gain ADC High Byte
A2D21H[7:0] | 17 | * | A2D21HCS\ | PMT 2 Quartet 1 High Gain ADC Low Byte
A2D31L[15:8] | 18 | * | A2D31LCS\ | PMT 3 Quartet 1 Low Gain ADC High Byte
A2D31L[7:0] | 19 | * | A2D31LCS\ | PMT 3 Quartet 1 Low Gain ADC Low Byte
A2D31H[15:8] | 20 | * | A2D31HCS\ | PMT 3 Quartet 1 High Gain ADC High Byte
A2D31H[7:0] | 21 | * | A2D31HCS\ | PMT 3 Quartet 1 High Gain ADC Low Byte
A2D41L[15:8] | 22 | * | A2D41LCS\ | PMT 4 Quartet 1 Low Gain ADC High Byte
A2D41L[7:0] | 23 | * | A2D41LCS\ | PMT 4 Quartet 1 Low Gain ADC Low Byte
A2D41H[15:8] | 24 | * | A2D41HCS\ | PMT 4 Quartet 1 High Gain ADC High Byte
A2D41H[7:0] | 25 | * | A2D41HCS\ | PMT 4 Quartet 1 High Gain ADC Low Byte
A2D12L[15:8] | 26 | * | A2D12LCS\ | PMT 1 Quartet 2 Low Gain ADC High Byte
A2D12L[7:0] | 27 | * | A2D12LCS\ | PMT 1 Quartet 2 Low Gain ADC Low Byte
A2D12H[15:8] | 28 | * | A2D12HCS\ | PMT 1 Quartet 2 High Gain ADC High Byte
A2D12H[7:0] | 29 | * | A2D12HCS\ | PMT 1 Quartet 2 High Gain ADC Low Byte
A2D22L[15:8] | 30 | * | A2D22LCS\ | PMT 2 Quartet 2 Low Gain ADC High Byte
A2D22L[7:0] | 31 | * | A2D22LCS\ | PMT 2 Quartet 2 Low Gain ADC Low Byte
A2D22H[15:8] | 32 | * | A2D22HCS\ | PMT 2 Quartet 2 High Gain ADC High Byte
A2D22H[7:0] | 33 | * | A2D22HCS\ | PMT 2 Quartet 2 High Gain ADC Low Byte
A2D32L[15:8] | 34 | * | A2D32LCS\ | PMT 3 Quartet 2 Low Gain ADC High Byte
A2D32L[7:0] | 35 | * | A2D32LCS\ | PMT 3 Quartet 2 Low Gain ADC Low Byte
A2D32H[15:8] | 36 | * | A2D32HCS\ | PMT 3 Quartet 2 High Gain ADC High Byte
A2D32H[7:0] | 37 | * | A2D32HCS\ | PMT 3 Quartet 2 High Gain ADC Low Byte
A2D42L[15:8] | 38 | * | A2D42LCS\ | PMT 4 Quartet 2 Low Gain ADC High Byte
A2D42L[7:0] | 39 | * | A2D42LCS\ | PMT 4 Quartet 2 Low Gain ADC Low Byte
A2D42H[15:8] | 40 | * | A2D42HCS\ | PMT 4 Quartet 2 High Gain ADC High Byte
A2D42H[7:0] | 41 | * | A2D42HCS\ | PMT 4 Quartet 2 High Gain ADC Low Byte
A2D13L[15:8] | 42 | * | A2D13LCS\ | PMT 1 Quartet 3 Low Gain ADC High Byte
A2D13L[7:0] | 43 | * | A2D13LCS\ | PMT 1 Quartet 3 Low Gain ADC Low Byte
A2D13H[15:8] | 44 | * | A2D13HCS\ | PMT 1 Quartet 3 High Gain ADC High Byte
A2D13H[7:0] | 45 | * | A2D13HCS\ | PMT 1 Quartet 3 High Gain ADC Low Byte
A2D23L[15:8] | 46 | * | A2D23LCS\ | PMT 2 Quartet 3 Low Gain ADC High Byte
A2D23L[7:0] | 47 | * | A2D23LCS\ | PMT 2 Quartet 3 Low Gain ADC Low Byte
A2D23H[15:8] | 48 | * | A2D23HCS\ | PMT 2 Quartet 3 High Gain ADC High Byte
A2D23H[7:0] | 49 | * | A2D23HCS\ | PMT 2 Quartet 3 High Gain ADC Low Byte
A2D33L[15:8] | 50 | * | A2D33LCS\ | PMT 3 Quartet 3 Low Gain ADC High Byte
A2D33L[7:0] | 51 | * | A2D33LCS\ | PMT 3 Quartet 3 Low Gain ADC Low Byte
A2D33H[15:8] | 52 | * | A2D33HCS\ | PMT 3 Quartet 3 High Gain ADC High Byte
A2D33H[7:0] | 53 | * | A2D33HCS\ | PMT 3 Quartet 3 High Gain ADC Low Byte
A2D43L[15:8] | 54 | * | A2D43LCS\ | PMT 4 Quartet 3 Low Gain ADC High Byte
A2D43L[7:0] | 55 | * | A2D43LCS\ | PMT 4 Quartet 3 Low Gain ADC Low Byte
A2D43H[15:8] | 56 | * | A2D43HCS\ | PMT 4 Quartet 3 High Gain ADC High Byte
A2D43H[7:0] | 57 | * | A2D43HCS\ | PMT 4 Quartet 3 High Gain ADC Low Byte
A2D14L[15:8] | 58 | * | A2D14LCS\ | PMT 1 Quartet 4 Low Gain ADC High Byte
A2D14L[7:0] | 59 | * | A2D14LCS\ | PMT 1 Quartet 4 Low Gain ADC Low Byte
A2D14H[15:8] | 60 | * | A2D14HCS\ | PMT 1 Quartet 4 High Gain ADC High Byte
A2D14H[7:0] | 61 | * | A2D14HCS\ | PMT 1 Quartet 4 High Gain ADC Low Byte
A2D24L[15:8] | 62 | * | A2D24LCS\ | PMT 2 Quartet 4 Low Gain ADC High Byte
A2D24L[7:0] | 63 | * | A2D24LCS\ | PMT 2 Quartet 4 Low Gain ADC Low Byte
A2D24H[15:8] | 64 | * | A2D24HCS\ | PMT 2 Quartet 4 High Gain ADC High Byte
A2D24H[7:0] | 65 | * | A2D24HCS\ | PMT 2 Quartet 4 High Gain ADC Low Byte
A2D34L[15:8] | 66 | * | A2D34LCS\ | PMT 3 Quartet 4 Low Gain ADC High Byte
A2D34L[7:0] | 67 | * | A2D34LCS\ | PMT 3 Quartet 4 Low Gain ADC Low Byte
A2D34H[15:8] | 68 | * | A2D34HCS\ | PMT 3 Quartet 4 High Gain ADC High Byte
A2D34H[7:0] | 69 | * | A2D34HCS\ | PMT 3 Quartet 4 High Gain ADC Low Byte
A2D44L[15:8] | 70 | * | A2D44LCS\ | PMT 4 Quartet 4 Low Gain ADC High Byte
A2D44L[7:0] | 71 | * | A2D44LCS\ | PMT 4 Quartet 4 Low Gain ADC Low Byte
A2D44H[15:8] | 72 | * | A2D44HCS\ | PMT 4 Quartet 4 High Gain ADC High Byte
A2D44H[7:0] | 73 | * | A2D44HCS\ | PMT 4 Quartet 4 High Gain ADC Low Byte
A2DT1L[15:8] | 74 | * | A2DT1LCS\ | Trigger PMT 1 Low Gain ADC High Byte
A2DT1L[7:0] | 75 | * | A2DT1LCS\ | Trigger PMT 1 Low Gain ADC Low Byte
A2DT1H[15:8] | 76 | * | A2DT1HCS\ | Trigger PMT 1 High Gain ADC High Byte
A2DT1H[7:0] | 77 | * | A2DT1HCS\ | Trigger PMT 1 High Gain ADC Low Byte
A2DT2L[15:8] | 78 | * | A2DT2LCS\ | Trigger PMT 2 Low Gain ADC High Byte
A2DT2L[7:0] | 79 | * | A2DT2LCS\ | Trigger PMT 2 Low Gain ADC Low Byte
A2DT2H[15:8] | 80 | * | A2DT2HCS\ | Trigger PMT 2 High Gain ADC High Byte
A2DT2H[7:0] | 81 | * | A2DT2HCS\ | Trigger PMT 2 High Gain ADC Low Byte
Command Packets
Contents | Byte in Packet | Bit in Byte | Associated CS | Description
0x8F | 0 | * | N/A | SYNC
0xC7 | 1 | * | N/A | SYNC
0xAB | 2 | * | N/A | SYNC
0xBA | 3 | * | N/A | SYNC
Command | 4-7 | * | N/A | See command list document
Housekeeping Packets
Contents | Byte in Packet | Bit in Byte | Associated CS | Description
0x8F | 0 | * | N/A | SYNC
0xC7 | 1 | * | N/A | SYNC
0xBC | 2 | * | N/A | SYNC
0xCB | 3 | * | N/A | SYNC
HK response | 4-7 | * | N/A | See command list document